## Data from TangJensen
IX | Low estimates for costs/$1,000 gallons | [12 empty] | IX & RO average | Low estimates for costs/$1,000 gallons
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Cost per year O&M | Cost/year/person O&M |  | Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0.05 | 0.28 | 0.62 | 18217.15 | 76.7038 | 8227.1 | 34.6404 |  | Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 |  |  |  | 57883.525 | 243.7201
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0.08 | 0.15 | 0.34 | 66579.65 | 47.0694 | 29373.375 | 20.7659 |  | Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 |  |  |  | 385770.325 | 272.7256
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.06 | 0.12 | 0.36 | 139284 | 41.5835 | 46428 | 13.8612 |  | Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 |  |  |  | 762193 | 227.5543
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0.09 | 0.13 | 0.22 | 1093686 | 24.3044 | 646269 | 14.3617 |  | Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 |  |  |  | 9793461 | 217.6349
| Midpoint estimates for costs/$1,000 gallons | [13 empty] | Midpoint estimates for costs/$1,000 gallons
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MGD) | Flow/month (MGD) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person |  |  |  | Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MGD) | Flow/month (MGD) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0.75 | 1.22 | 1.97 | 57883.525 | 243.7201 | 35846.65 | 150.9333 |  | Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 |  |  |  | 0 | 0
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0.15 | 0.87 | 1.05 | 205613.625 | 145.3613 | 170365.575 | 120.4423 |  | Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 |  |  |  | 0 | 0
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.19 | 0.84 | 1.06 | 410114 | 122.4404 | 324996 | 97.0282 |  | Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 |  |  |  | 0 | 0
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0.25 | 0.66 | 0.97 | 4822161 | 107.1603 | 3281058 | 72.9132 |  | Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 |  |  |  | 0 | 0
| High estimates for costs/$1,000 gallons | [13 empty] | High estimates for costs/$1,000 gallons
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MGD) | Flow/month (MGD) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person |  |  |  | Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MGD) | Flow/month (MGD) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 1.53 | 3.81 | 4.6 | 135159.5 | 569.0926 | 111947.325 | 471.3572 |  | Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 |  |  |  | 0 | 0
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0.25 | 2.63 | 2.73 | 534595.425 | 377.9395 | 515013.175 | 364.0956 |  | Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 |  |  |  | 0 | 0
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.52 | 1.69 | 2.04 | 789276 | 235.6399 | 653861 | 195.2115 |  | Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 |  |  |  | 0 | 0
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0.41 | 1.39 | 1.81 | 8998053 | 199.959 | 6910107 | 153.5596 |  | Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 |  |  |  | 0 | 0
RO | Low estimates for costs/$1,000 gallons
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0.47 | 0.22 | 0.69 | 20273.925 | 85.3639 | 6464.15 | 27.2175
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0.19 | 0.23 | 0.58 | 113577.05 | 80.2948 | 45039.175 | 31.8411
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.44 | 0.91 | 1.35 | 522315 | 155.9382 | 352079 | 105.1139
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0.33 | 0.4 | 0.73 | 3629049 | 80.6464 | 1988520 | 44.1898
Midpoint estimates for costs/$1,000 gallons
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MGD) | Flow/month (MGD) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 2.43 | 4.22 | 6.64 | 195099.8 | 821.4728 | 123994.15 | 522.0806
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0.47 | 0.57 | 0.93 | 182114.925 | 128.7486 | 111618.825 | 78.9104
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.53 | 1.89 | 2.59 | 1002071 | 299.1703 | 731241 | 218.3135
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0.97 | 1.48 | 2.38 | 11831694 | 262.9295 | 7357524 | 163.5024
High estimates for costs/$1,000 gallons
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MGD) | Flow/month (MGD) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 4.4 | 16.16 | 19.16 | 562968.7 | 2370.3945 | 474821.2 | 1999.2472
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 1.13 | 1.15 | 1.34 | 262402.15 | 185.5088 | 225195.875 | 159.2053
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.63 | 2.76 | 3.39 | 1311591 | 391.5781 | 1067844 | 318.807
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 1.46 | 2.21 | 3.67 | 18244671 | 405.4416 | 10986573 | 244.1488

## RO Calculations
RO | Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | LOW ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0.47 | 0.22 | 0.69 | 20273.925 | 85.3639 | 235.06 | 8 | 162191.4 | 191831.06 | 219165.6382 | 219165.6382 | 219165.6382 | 219165.6382 | 1068493.6127
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0.19 | 0.23 | 0.58 | 113577.05 | 80.2948 | 1174.935 | 6 | 681462.3 | 805996.097 | 920844.8775 | 920844.8775 | 920844.8775 | 920844.8775 | 4489375.607
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.44 | 0.91 | 1.35 | 522315 | 155.9382 | 386.9 | 1 | 522315 | 617765.4309 | 705792.6641 | 705792.6641 | 705792.6641 | 705792.6641 | 3440936.0872
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0.33 | 0.4 | 0.73 | 3629049 | 80.6464 | 9942.6 | 2 | 7258098 | 8584478.7882 | 9807706.6973 | 9807706.6973 | 9807706.6973 | 9807706.6973 | 47815305.5776
| Very large | 100,001-250,000 | 74999.5 | 13.62 | 4971.3 | 408.6 | 0.33 | 0.4 | 0.73 | 3629049 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | Total | 11739.495 | 17 | 8624066.7 | 10200071.376 | 11653509.8771 | 11653509.8771 | 11653509.8771 | 11653509.8771 | 56814110.8844
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[13 empty] | 2020 dollars (5 years) | 51000356.8799 | 24000167.9435 | 18000125.9576 | 3000020.9929 | 6000041.9859 | 0 | 51000356.8799
[13 empty] | Real dollars (5 years) | 56814110.8844 | 26736052.1809 | 20052039.1357 | 3342006.5226 | 6684013.0452 | 0 | 56814110.8844
| Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | MEDIUM ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 2.43 | 4.22 | 6.64 | 195099.8 | 821.4728 | 235.06 | 8 | 1560798.4 | 1846026.4325 | 2109072.2281 | 2109072.2281 | 2109072.2281 | 2109072.2281 | 10282315.345
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0.47 | 0.57 | 0.93 | 182114.925 | 128.7486 | 1174.935 | 6 | 1092689.55 | 1292373.052 | 1476527.1312 | 1476527.1312 | 1476527.1312 | 1476527.1312 | 7198481.5767
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.53 | 1.89 | 2.59 | 1002071 | 299.1703 | 386.9 | 1 | 1002071 | 1185194.4192 | 1354076.2963 | 1354076.2963 | 1354076.2963 | 1354076.2963 | 6601499.6044
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0.97 | 1.48 | 2.38 | 11831694 | 262.9295 | 9942.6 | 2 | 23663388 | 27987752.7614 | 31975810.8763 | 31975810.8763 | 31975810.8763 | 31975810.8763 | 155890996.2665
| Very large | 100,001-250,000 | 74999.5 | 13.62 | 4971.3 | 408.6 | 0.97 | 1.48 | 2.38 | 11831694 | 262.9295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | Total | 11739.495 | 17 | 27318946.95 | 32311346.6651 | 36915486.5319 | 36915486.5319 | 36915486.5319 | 36915486.5319 | 179973292.7926
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[13 empty] | 2020 dollars (5 years) | 161556733.3256 | 76026698.0356 | 57020023.5267 | 9503337.2544 | 19006674.5089 | 0 | 161556733.3256
[13 empty] | Real dollars (5 years) | 179973292.7926 | 84693314.2553 | 63519985.6915 | 10586664.2819 | 21173328.5638 | 0 | 179973292.7926
| Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | HIGH ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 4.4 | 16.16 | 19.16 | 562968.7 | 2370.3945 | 235.06 | 8 | 4503749.6 | 5326787.1154 | 6085816.8511 | 6085816.8511 | 6085816.8511 | 6085816.8511 | 29670054.5196
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 1.13 | 1.15 | 1.34 | 262402.15 | 185.5088 | 1174.935 | 6 | 1574412.9 | 1862128.9136 | 2127469.1997 | 2127469.1997 | 2127469.1997 | 2127469.1997 | 10372005.7126
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.63 | 2.76 | 3.39 | 1311591 | 391.5781 | 386.9 | 1 | 1311591 | 1551277.6375 | 1772323.8009 | 1772323.8009 | 1772323.8009 | 1772323.8009 | 8640572.8412
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 1.46 | 2.21 | 3.67 | 18244671 | 405.4416 | 9942.6 | 2 | 36489342 | 43157585.1405 | 49307237.7798 | 49307237.7798 | 49307237.7798 | 49307237.7798 | 240386536.2597
| Very large | 100,001-250,000 | 74999.5 | 13.62 | 4971.3 | 408.6 | 1.46 | 2.21 | 3.67 | 18244671 | 405.4416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | Total | 11739.495 | 17 | 43879095.5 | 51897778.8071 | 59292847.6315 | 59292847.6315 | 59292847.6315 | 59292847.6315 | 289069169.3332
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[13 empty] | 2020 dollars (5 years) | 259488894.0353 | 122112420.7225 | 91584315.5419 | 15264052.5903 | 30528105.1806 | 0 | 259488894.0353
[13 empty] | Real dollars (5 years) | 289069169.3332 | 136032550.2745 | 102024412.7058 | 17004068.7843 | 34008137.5686 | 0 | 289069169.3332
https://data.oecd.org/price/inflation-forecast.htm
|  | LOCATION | INDICATOR | SUBJECT | TIME | Value
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q1 | 2.1054
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q2 | 0.44049
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q3 | 1.2535
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q4 | 1.6346 | 1.9279
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q1 | 1.555
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q2 | 2.8295
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q3 | 1.9496
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q4 | 1.3775 | 1.6874
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q1 | 1.5573
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q2 | 1.6693
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q3 | 1.7312
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q4 | 1.7919 | 1.6874

## IX Calculations
IX | Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | LOW ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0.05 | 0.28 | 0.62 | 18217.15 | 76.7038 | 852.0925 | 29 | 528297.35 | 688709.24 | 786845.4675 | 786845.4675 | 786845.4675 | 786845.4675 | 3836091.1102
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0.08 | 0.15 | 0.34 | 66579.65 | 47.0694 | 1958.225 | 10 | 665796.5 | 867958.5493 | 991636.5439 | 991636.5439 | 991636.5439 | 991636.5439 | 4834504.7251
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.06 | 0.12 | 0.36 | 139284 | 41.5835 | 386.9 | 1 | 139284 | 181576.1101 | 207449.4299 | 207449.4299 | 207449.4299 | 207449.4299 | 1011373.8299
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0.09 | 0.13 | 0.22 | 1093686 | 24.3044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Very large | 100,001-250,000 | 74999.5 | 22.7001 | 8285.5368 | 681.003 | 0.09 | 0.21667 | 0.36667 | 3038043.6716 | 40.5075 | 8285.5368 | 1 | 3038043.6716 | 3960513.4271 | 4524858.7622 | 4524858.7622 | 4524858.7622 | 4524858.7622 | 22059948.476
[11 empty] | Total | 3197.2175 | 41 | 4371421.5216 | 5698757.3265 | 6510790.2037 | 6510790.2037 | 6510790.2037 | 6510790.2037 | 31741918.1411
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[12 empty] | 2020 dollars (5 years) |  | 28493786.6324 | 20154141.7644 | 6949704.0567 | 694970.4057 | 0 | 694970.4057 | 28493786.6324
[12 empty] | Real dollars (5 years) |  | 31741918.1411 | 22451600.6364 | 7741931.2539 | 774193.1254 | 0 | 774193.1254 | 31741918.1411
| Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | MEDIUM ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0.75 | 1.22 | 1.97 | 57883.525 | 243.7201 | 852.0925 | 29 | 1678622.225 | 2188318.069 | 2500138.0178 | 2500138.0178 | 2500138.0178 | 2500138.0178 | 12188870.1404
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0.15 | 0.87 | 1.05 | 205613.625 | 145.3613 | 1958.225 | 10 | 2056136.25 | 2680460.2258 | 3062406.9739 | 3062406.9739 | 3062406.9739 | 3062406.9739 | 14930088.1216
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.19 | 0.84 | 1.06 | 410114 | 122.4404 | 386.9 | 1 | 410114 | 534640.7686 | 610823.3215 | 610823.3215 | 610823.3215 | 610823.3215 | 2977934.0547
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0.25 | 0.66 | 0.97 | 4822161 | 107.1603 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Very large | 100,001-250,000 | 74999.5 | 22.7001 | 8285.5368 | 681.003 | 0.25 | 1.1 | 1.6167 | 13395010.734 | 178.6013 | 8285.5368 | 1 | 13395010.734 | 17462263.7467 | 19950513.6334 | 19950513.6334 | 19950513.6334 | 19950513.6334 | 97264318.2804
[11 empty] | Total | 3197.2175 | 41 | 17539883.209 | 22865682.8101 | 26123881.9467 | 26123881.9467 | 26123881.9467 | 26123881.9467 | 127361210.597
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[12 empty] | 2020 dollars (5 years) |  | 114328414.0506 | 80866439.2065 | 27884979.0367 | 2788497.9037 | 0 | 2788497.9037 | 114328414.0506
[12 empty] | Real dollars (5 years) |  | 127361210.597 | 90084758.7149 | 31063709.9017 | 3106370.9902 | 0 | 3106370.9902 | 127361210.597
| Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | HIGH ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 1.53 | 3.81 | 4.6 | 135159.5 | 569.0926 | 852.0925 | 29 | 3919625.5 | 5109778.2323 | 5837885.7269 | 6669743.4236 | 6669743.4236 | 6669743.4236 | 30956894.2299
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0.25 | 2.63 | 2.73 | 534595.425 | 377.9395 | 1958.225 | 10 | 5345954.25 | 6969196.5871 | 7962258.1323 | 9096823.97 | 9096823.97 | 9096823.97 | 42221926.6292
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0.52 | 1.69 | 2.04 | 789276 | 235.6399 | 386.9 | 1 | 789276 | 1028931.2905 | 1175546.7697 | 1343053.9245 | 1343053.9245 | 1343053.9245 | 6233639.8338
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0.41 | 1.39 | 1.81 | 8998053 | 199.959 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Very large | 100,001-250,000 | 74999.5 | 22.7001 | 8285.5368 | 681.003 | 0.41 | 2.3167 | 3.0167 | 24994813.8438 | 333.2664 | 8285.5368 | 1 | 24994813.8438 | 32584224.1046 | 37227247.0892 | 42531868.2251 | 42531868.2251 | 42531868.2251 | 197407075.8692
[11 empty] | Total | 3197.2175 | 41 | 35049669.5938 | 45692130.2145 | 52202937.718 | 59641489.5432 | 59641489.5432 | 59641489.5432 | 276819536.5621
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[12 empty] | 2020 dollars (5 years) |  | 228460651.0726 | 161594119.0513 | 55722110.0177 | 5572211.0018 | 0 | 5572211.0018 | 228460651.0726
[12 empty] | Real dollars (5 years) |  | 276819536.5621 | 195799184.3976 | 67516960.1371 | 6751696.0137 | 0 | 6751696.0137 | 276819536.5621
https://data.oecd.org/price/inflation-forecast.htm
|  | LOCATION | INDICATOR | SUBJECT | TIME | Value
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q1 | 2.1054
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q2 | 0.44049
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q3 | 1.2535
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q4 | 1.6346 | 1.9279
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q1 | 1.555
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q2 | 2.8295
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q3 | 1.9496
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q4 | 1.3775 | 1.6874
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q1 | 1.5573
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q2 | 1.6693
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q3 | 1.7312
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q4 | 1.7919 | 1.6874

## Water treated
Total water treated
|  |  |  | IX |  |  | RO
|  |  |  | Millions of gallons treated/year | Number of PWS | Millions of gallons/year | Millions of gallons treated/year | Number of PWS | Millions of gallons/year
| Very small | 25-500 |  | 852.0925 | 29 | 24710.6825 | 235.06 | 8 | 1880.48
| Small | 501-3,300 |  | 1958.225 | 10 | 19582.25 | 1174.935 | 6 | 7049.61
| Medium | 3,301-10,000 |  | 386.9 | 1 | 386.9 | 386.9 | 1 | 386.9
| Large | 10,001-100,000 |  | 0 | 0 | 0 | 9942.6 | 2 | 19885.2
| Very large | 100,001-250,000 |  | 8285.5368 | 1 | 8285.5368 | 0 | 0 | 0
|  |  | Total | 3197.2175 | 41 | 52965.3693 | 11739.495 | 17 | 29202.19

## Aggregate results
Total costs
Including capital costs
|  | Reverse Osmosis | [6 empty] | Population size | Low | Low error | Medium | High error | High
|  |  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | 500 or less | 44.1543 | 112.7388 | 156.8931 | 126.8134 | 283.7065
| Low | 2020 dollars (5 years) | 51000356.8799 | 24000167.9435 | 18000125.9576 | 3000020.9929 | 6000041.9859 | 0 | 501-3,300 | 24.9498 | 59.9552 | 84.905 | 62.4014 | 147.3064
|  | Real dollars (5 years) | 56814110.8844 | 26736052.1809 | 20052039.1357 | 3342006.5226 | 6684013.0452 | 0 | 3,301-10,000 | 3.695 | 8.5968 | 12.2918 | 8.5444 | 20.8363
[9 empty] | 10,001-100,000 | 6 | 13.0066 | 19.0067 | 11.5214 | 30.5281
|  |  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | 100,001-250,000 | 0.69497 | 2.0935 | 2.7885 | 2.7837 | 5.5722
| Medium | 2020 dollars (5 years) | 161556733.3256 | 76026698.0356 | 57020023.5267 | 9503337.2544 | 19006674.5089 | 0
|  | Real dollars (5 years) | 179973292.7926 | 84693314.2553 | 63519985.6915 | 10586664.2819 | 21173328.5638 | 0 | Population size | Low | Low error | Medium | High error | High
[9 empty] | 500 or less | 22.8736 | 75.6939 | 98.5675 | 98.0323 | 196.5998
|  |  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | 501-3,300 | 13.1318 | 40.1473 | 53.2791 | 46.3008 | 99.58
|  | 2020 dollars (5 years) | 259488894.0353 | 122112420.7225 | 91584315.5419 | 15264052.5903 | 30528105.1806 | 0 | 3,301-10,000 | 1.9604 | 5.7481 | 7.7084 | 6.1722 | 13.8806
| High | Real dollars (5 years) | 289069169.3332 | 136032550.2745 | 102024412.7058 | 17004068.7843 | 34008137.5686 | 0 | 10,001-100,000 | 3.2359 | 8.6667 | 11.9026 | 7.7106 | 19.6132
[9 empty] | 100,001-250,000 | 0.34241 | 1.4147 | 1.7571 | 2.3169 | 4.074
ION EXCHANGE
|  |  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
|  | 2020 dollars (5 years) | 28493786.6324 | 20154141.7644 | 6949704.0567 | 694970.4057 | 0 | 694970.4057
| Low | Real dollars (5 years) | 31741918.1411 | 22451600.6364 | 7741931.2539 | 774193.1254 | 0 | 774193.1254
|  |  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
|  | 2020 dollars (5 years) | 114328414.0506 | 80866439.2065 | 27884979.0367 | 2788497.9037 | 0 | 2788497.9037
| Medium | Real dollars (5 years) | 127361210.597 | 90084758.7149 | 31063709.9017 | 3106370.9902 | 0 | 3106370.9902
|  |  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
|  | 2020 dollars (5 years) | 228460651.0726 | 161594119.0513 | 55722110.0177 | 5572211.0018 | 0 | 5572211.0018
|  | Real dollars (5 years) | 276819536.5621 | 195799184.3976 | 67516960.1371 | 6751696.0137 | 0 | 6751696.0137
High
COMBINED
|  |  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
| Low | 2020 dollars (5 years) | 79494143.5124 | 44154309.7079 | 24949830.0143 | 3694991.3986 | 6000041.9859 | 694970.4057
|  | Real dollars (5 years) | 88556029.0255 | 49187652.8173 | 27793970.3896 | 4116199.648 | 6684013.0452 | 774193.1254
|  |  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
| Medium | 2020 dollars (5 years) | 275885147.3763 | 156893137.2421 | 84905002.5634 | 12291835.1581 | 19006674.5089 | 2788497.9037
|  | Real dollars (5 years) | 307334503.3895 | 174778072.9703 | 94583695.5932 | 13693035.2721 | 21173328.5638 | 3106370.9902
|  |  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
|  | 2020 dollars (5 years) | 487949545.1078 | 283706539.7738 | 147306425.5596 | 20836263.5921 | 30528105.1806 | 5572211.0018
| High | Real dollars (5 years) | 565888705.8953 | 331831734.672 | 169541372.8429 | 23755764.798 | 34008137.5686 | 6751696.0137

## RO Calcs no Cap
RO | Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | LOW ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0 | 0.22 | 0.69 | 6464.15 | 27.2175 | 235.06 | 8 | 51713.2 | 61163.53 | 69878.9033 | 69878.9033 | 69878.9033 | 69878.9033 | 340679.1431
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0 | 0.23 | 0.58 | 45039.175 | 31.8411 | 1174.935 | 6 | 270235.05 | 319619.1608 | 365162.6455 | 365162.6455 | 365162.6455 | 365162.6455 | 1780269.7427
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0 | 0.91 | 1.35 | 352079 | 105.1139 | 386.9 | 1 | 352079 | 416419.6855 | 475756.5647 | 475756.5647 | 475756.5647 | 475756.5647 | 2319445.9443
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0 | 0.4 | 0.73 | 1988520 | 44.1898 | 9942.6 | 2 | 3977040 | 4703824.2722 | 5374086.1799 | 5374086.1799 | 5374086.1799 | 5374086.1799 | 26200168.9918
| Very large | 100,001-250,000 | 74999.5 | 13.62 | 4971.3 | 408.6 | 0 | 0.4 | 0.73 | 1988520 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | Total | 11739.495 | 17 | 4651067.25 | 5501026.6485 | 6284884.2934 | 6284884.2934 | 6284884.2934 | 6284884.2934 | 30640563.8219
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[13 empty] | 2020 dollars (5 years) | 27505133.2423 | 12943592.114 | 9707694.0855 | 1617949.0143 | 3235898.0285 | 0 | 27505133.2423
[13 empty] | Real dollars (5 years) | 30640563.8219 | 14419088.8574 | 10814316.643 | 1802386.1072 | 3604772.2143 | 0 | 30640563.8219
| Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | MEDIUM ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0 | 4.22 | 6.64 | 123994.15 | 522.0806 | 235.06 | 8 | 991953.2 | 1173227.7118 | 1340404.4172 | 1340404.4172 | 1340404.4172 | 1340404.4172 | 6534845.3805
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0 | 0.57 | 0.93 | 111618.825 | 78.9104 | 1174.935 | 6 | 669712.95 | 792099.6594 | 904968.2953 | 904968.2953 | 904968.2953 | 904968.2953 | 4411972.8406
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0 | 1.89 | 2.59 | 731241 | 218.3135 | 386.9 | 1 | 731241 | 864871.6544 | 988109.7883 | 988109.7883 | 988109.7883 | 988109.7883 | 4817310.8075
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0 | 1.48 | 2.38 | 7357524 | 163.5024 | 9942.6 | 2 | 14715048 | 17404149.807 | 19884118.8657 | 19884118.8657 | 19884118.8657 | 19884118.8657 | 96940625.2696
| Very large | 100,001-250,000 | 74999.5 | 13.62 | 4971.3 | 408.6 | 0 | 1.48 | 2.38 | 7357524 | 163.5024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | Total | 11739.495 | 17 | 17107955.15 | 20234348.8327 | 23117601.3664 | 23117601.3664 | 23117601.3664 | 23117601.3664 | 112704754.2982
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[13 empty] | 2020 dollars (5 years) | 101171744.1635 | 47610232.5476 | 35707674.4107 | 5951279.0684 | 11902558.1369 | 0 | 101171744.1635
[13 empty] | Real dollars (5 years) | 112704754.2982 | 53037531.4344 | 39778148.5758 | 6629691.4293 | 13259382.8586 | 0 | 112704754.2982
| Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | HIGH ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0 | 16.16 | 19.16 | 474821.2 | 1999.2472 | 235.06 | 8 | 3798569.6 | 4492739.2945 | 5132923.0762 | 5132923.0762 | 5132923.0762 | 5132923.0762 | 25024431.5992
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0 | 1.15 | 1.34 | 225195.875 | 159.2053 | 1174.935 | 6 | 1351175.25 | 1598095.8041 | 1825813.2273 | 1825813.2273 | 1825813.2273 | 1825813.2273 | 8901348.7135
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0 | 2.76 | 3.39 | 1067844 | 318.807 | 386.9 | 1 | 1067844 | 1262987.1779 | 1442953.9765 | 1442953.9765 | 1442953.9765 | 1442953.9765 | 7034803.0839
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0 | 2.21 | 3.67 | 10986573 | 244.1488 | 9942.6 | 2 | 21973146 | 25988629.1037 | 29691826.144 | 29691826.144 | 29691826.144 | 29691826.144 | 144755933.6797
| Very large | 100,001-250,000 | 74999.5 | 13.62 | 4971.3 | 408.6 | 0 | 2.21 | 3.67 | 10986573 | 244.1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | Total | 11739.495 | 17 | 28190734.85 | 33342451.3803 | 38093516.424 | 38093516.424 | 38093516.424 | 38093516.424 | 185716517.0762
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[13 empty] | 2020 dollars (5 years) | 166712256.9015 | 78452826.7772 | 58839620.0829 | 9806603.3471 | 19613206.6943 | 0 | 166712256.9015
[13 empty] | Real dollars (5 years) | 185716517.0762 | 87396008.0359 | 65547006.0269 | 10924501.0045 | 21849002.009 | 0 | 185716517.0762
https://data.oecd.org/price/inflation-forecast.htm
|  | LOCATION | INDICATOR | SUBJECT | TIME | Value
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q1 | 2.1054
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q2 | 0.44049
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q3 | 1.2535
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q4 | 1.6346 | 1.9279
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q1 | 1.555
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q2 | 2.8295
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q3 | 1.9496
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q4 | 1.3775 | 1.6874
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q1 | 1.5573
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q2 | 1.6693
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q3 | 1.7312
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q4 | 1.7919 | 1.6874

## IX Calcs no Cap
IX | Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | LOW ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0 | 0.28 | 0.62 | 8227.1 | 34.6404 | 852.0925 | 29 | 238585.9 | 282186.27 | 322395.8307 | 322395.8307 | 322395.8307 | 322395.8307 | 1571769.5929
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0 | 0.15 | 0.34 | 29373.375 | 20.7659 | 1958.225 | 10 | 293733.75 | 347412.1115 | 396915.8963 | 396915.8963 | 396915.8963 | 396915.8963 | 1935075.6966
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0 | 0.12 | 0.36 | 46428 | 13.8612 | 386.9 | 1 | 46428 | 54912.4829 | 62737.1258 | 62737.1258 | 62737.1258 | 62737.1258 | 305860.9862
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0 | 0.13 | 0.22 | 646269 | 14.3617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Very large | 100,001-250,000 | 74999.5 | 22.7001 | 8285.5368 | 681.003 | 0 | 0.21667 | 0.36667 | 1795207.6241 | 23.9363 | 8285.5368 | 1 | 1795207.6241 | 2123272.7639 | 2425824.2138 | 2425824.2138 | 2425824.2138 | 2425824.2138 | 11826569.6192
[11 empty] | Total | 3197.2175 | 41 | 2373955.2741 | 2807783.6283 | 3207873.0666 | 3207873.0666 | 3207873.0666 | 3207873.0666 | 15639275.8948
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[12 empty] | 2020 dollars (5 years) |  | 14038918.1413 | 9929966.4902 | 3424126.3759 | 342412.6376 | 0 | 342412.6376 | 14038918.1413
[12 empty] | Real dollars (5 years) |  | 15639275.8948 | 11061926.8524 | 3814457.5353 | 381445.7535 | 0 | 381445.7535 | 15639275.8948
| Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | MEDIUM ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0 | 1.22 | 1.97 | 35846.65 | 150.9333 | 852.0925 | 29 | 1039552.85 | 1229525.8907 | 1404724.691 | 1404724.691 | 1404724.691 | 1404724.691 | 6848424.6546
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0 | 0.87 | 1.05 | 170365.575 | 120.4423 | 1958.225 | 10 | 1703655.75 | 2014990.2465 | 2302112.1985 | 2302112.1985 | 2302112.1985 | 2302112.1985 | 11223439.0404
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0 | 0.84 | 1.06 | 324996 | 97.0282 | 386.9 | 1 | 324996 | 384387.38 | 439159.8808 | 439159.8808 | 439159.8808 | 439159.8808 | 2141026.9031
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0 | 0.66 | 0.97 | 3281058 | 72.9132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Very large | 100,001-250,000 | 74999.5 | 22.7001 | 8285.5368 | 681.003 | 0 | 1.1 | 1.6167 | 9114131.0149 | 121.5226 | 8285.5368 | 1 | 9114131.0149 | 10779692.4939 | 12315722.9316 | 12315722.9316 | 12315722.9316 | 12315722.9316 | 60042584.2203
[11 empty] | Total | 3197.2175 | 41 | 12182335.6149 | 14408596.0111 | 16461719.7019 | 16461719.7019 | 16461719.7019 | 16461719.7019 | 80255474.8185
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[12 empty] | 2020 dollars (5 years) |  | 72042980.0555 | 50957229.7954 | 17571458.5501 | 1757145.855 | 0 | 1757145.855 | 72042980.0555
[12 empty] | Real dollars (5 years) |  | 80255474.8185 | 56766067.5546 | 19574506.0533 | 1957450.6053 | 0 | 1957450.6053 | 80255474.8185
| Taken from Tang et al 2018 | [8 empty] | MY CALCULATIONS |  |  |  | HIGH ESTIMATE
| Size | Population served | Population served midpoint | Typical average flow (MILLIONS GALLONS/DAY) | Flow/year (MG) | Flow/month (MG) | Capital cost ($/1000 gallons) | O&M costs ($/1,000 gallon) | Total combined cost ($/1,000 gallons) | Cost per year | Cost/year/person | Millions of gallons treated/year | Number of PWS | Cost/year (2010 dollars) estimated with 5-year average system violations | 2020 (2020 dollars) | 2021 (2021 dollars) | 2022 (2022 dollars) | 2023 (2023 dollars) | 2024 (2024 dollars) | Total real dollars
| Very small | 25-500 | 237.5 | 0.0805 | 29.3825 | 2.415 | 0 | 3.81 | 4.6 | 111947.325 | 471.3572 | 852.0925 | 29 | 3246472.425 | 3839748.8882 | 4386886.1251 | 5011986.5738 | 5011986.5738 | 5011986.5738 | 23262594.7348
| Small | 501-3,300 | 1414.5 | 0.5365 | 195.8225 | 16.095 | 0 | 2.63 | 2.73 | 515013.175 | 364.0956 | 1958.225 | 10 | 5150131.75 | 6091292.3544 | 6959258.7149 | 7950904.1832 | 7950904.1832 | 7950904.1832 | 36903263.6189
| Medium | 3,301-10,000 | 3349.5 | 1.06 | 386.9 | 31.8 | 0 | 1.69 | 2.04 | 653861 | 195.2115 | 386.9 | 1 | 653861 | 773350.8002 | 883547.8554 | 1009447.2166 | 1009447.2166 | 1009447.2166 | 4685240.3054
| Large | 10,001-100,000 | 44999.5 | 13.62 | 4971.3 | 408.6 | 0 | 1.39 | 1.81 | 6910107 | 153.5596 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Very large | 100,001-250,000 | 74999.5 | 22.7001 | 8285.5368 | 681.003 | 0 | 2.3167 | 3.0167 | 19194912.2889 | 255.9339 | 8285.5368 | 1 | 19194912.2889 | 22702685.7068 | 25937658.9014 | 29633593.046 | 29633593.046 | 29633593.046 | 137541123.7464
[11 empty] | Total | 3197.2175 | 41 | 28245377.4639 | 33407077.7497 | 38167351.5969 | 43605931.0196 | 43605931.0196 | 43605931.0196 | 202392222.4054
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024
[14 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000 | Total
[12 empty] | 2020 dollars (5 years) |  | 167035388.7483 | 118146982.2854 | 40740338.7191 | 4074033.8719 | 0 | 4074033.8719 | 167035388.7483
[12 empty] | Real dollars (5 years) |  | 202392222.4054 | 143155474.3843 | 49363956.6842 | 4936395.6684 | 0 | 4936395.6684 | 202392222.4054
https://data.oecd.org/price/inflation-forecast.htm
|  | LOCATION | INDICATOR | SUBJECT | TIME | Value
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q1 | 2.1054
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q2 | 0.44049
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q3 | 1.2535
|  | USA | CPIFORECAST | DEC2020FORECAST | 2020-Q4 | 1.6346 | 1.9279
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q1 | 1.555
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q2 | 2.8295
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q3 | 1.9496
|  | USA | CPIFORECAST | DEC2020FORECAST | 2021-Q4 | 1.3775 | 1.6874
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q1 | 1.5573
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q2 | 1.6693
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q3 | 1.7312
|  | USA | CPIFORECAST | DEC2020FORECAST | 2022-Q4 | 1.7919 | 1.6874

## Aggregate results no caps
Reverse Osmosis
|  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
Low | 2020 dollars (5 years) | 27505133.2423 | 12943592.114 | 9707694.0855 | 1617949.0143 | 3235898.0285 | 0
| Real dollars (5 years) | 30640563.8219 | 14419088.8574 | 10814316.643 | 1802386.1072 | 3604772.2143 | 0
|  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
Medium | 2020 dollars (5 years) | 101171744.1635 | 47610232.5476 | 35707674.4107 | 5951279.0684 | 11902558.1369 | 0
| Real dollars (5 years) | 112704754.2982 | 53037531.4344 | 39778148.5758 | 6629691.4293 | 13259382.8586 | 0
|  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
| 2020 dollars (5 years) | 166712256.9015 | 78452826.7772 | 58839620.0829 | 9806603.3471 | 19613206.6943 | 0
High | Real dollars (5 years) | 185716517.0762 | 87396008.0359 | 65547006.0269 | 10924501.0045 | 21849002.009 | 0
ION EXCHANGE
|  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
| 2020 dollars (5 years) | 14038918.1413 | 9929966.4902 | 3424126.3759 | 342412.6376 | 0 | 342412.6376
Low | Real dollars (5 years) | 15639275.8948 | 11061926.8524 | 3814457.5353 | 381445.7535 | 0 | 381445.7535
|  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
| 2020 dollars (5 years) | 72042980.0555 | 50957229.7954 | 17571458.5501 | 1757145.855 | 0 | 1757145.855
Medium | Real dollars (5 years) | 80255474.8185 | 56766067.5546 | 19574506.0533 | 1957450.6053 | 0 | 1957450.6053
|  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
High | 2020 dollars (5 years) | 167035388.7483 | 118146982.2854 | 40740338.7191 | 4074033.8719 | 0 | 4074033.8719
| Real dollars (5 years) | 202392222.4054 | 143155474.3843 | 49363956.6842 | 4936395.6684 | 0 | 4936395.6684
COMBINED
|  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
Low | 2020 dollars (5 years) | 41544051.3837 | 22873558.6043 | 13131820.4615 | 1960361.6518 | 3235898.0285 | 342412.6376
| Real dollars (5 years) | 46279839.7167 | 25481015.7098 | 14628774.1783 | 2183831.8607 | 3604772.2143 | 381445.7535
|  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
Medium | 2020 dollars (5 years) | 173214724.2191 | 98567462.3429 | 53279132.9608 | 7708424.9235 | 11902558.1369 | 1757145.855
| Real dollars (5 years) | 192960229.1167 | 109803598.989 | 59352654.6291 | 8587142.0346 | 13259382.8586 | 1957450.6053
|  | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
| 2020 dollars (5 years) | 333747645.6498 | 196599809.0625 | 99579958.802 | 13880637.2191 | 19613206.6943 | 4074033.8719
High | Real dollars (5 years) | 388108739.4816 | 230551482.4202 | 114910962.7111 | 15860896.6729 | 21849002.009 | 4936395.6684

## Pop served by popcat11
popcat11 | submissionyear | populationservedcount | serviceconnectionscount | popshare
100,001-250,000 | 2020 | 233020 | 81336 | 0.65908 | Including capital costs
<=100 | 2020 | 1255 | 102 | 0.0035497 | Population size | Low | Low error | Medium | High error | High | Total pop by size | low/person | med/person | high/person | Error low | Error high
501-1,000 | 2020 | 3010 | 1600 | 0.0085136 | 500 or less | 44.1543 | 112.7388 | 156.8931 | 126.8134 | 283.7065 | 4662 | 9471.1089 | 33653.6116 | 60855.1136 | 24182.5027 | 27201.502 | Cost rural
10,001-50,000 | 2020 | 11423 | 4090 | 0.032309 | 501-3,300 | 24.9498 | 59.9552 | 84.905 | 62.4014 | 147.3064 | 19825 | 1258.5034 | 4282.724 | 7430.3367 | 3024.2206 | 3147.6128 | 178.3345
3,301-10,000 | 2020 | 20826 | 9033 | 0.058905 | 3,301-10,000 | 3.695 | 8.5968 | 12.2918 | 8.5444 | 20.8363 | 20826 | 177.422 | 590.2158 | 1000.4928 | 412.7938 | 410.277 | Cost urban
50,001-100,000 | 2020 | 63795 | 22146 | 0.18044 | 10,001-100,000 | 6 | 13.0066 | 19.0067 | 11.5214 | 30.5281 | 75218 | 79.7687 | 252.6878 | 405.8617 | 172.9191 | 153.1739 | 1.6563
1,001-3,300 | 2020 | 16815 | 6784 | 0.04756 | 100,001-250,000 | 0.69497 | 2.0935 | 2.7885 | 2.7837 | 5.5722 | 233020 | 2.9824 | 11.9668 | 23.913 | 8.9843 | 11.9462
101-500 | 2020 | 3407 | 1252 | 0.0096365
|  | 353551 |  |  | Population size | Low | Low error | Medium | High error | High | Total pop by size | low/person | med/person | high/person | Error low | Error high
[5 empty] | 500 or less | 22.8736 | 75.6939 | 98.5675 | 98.0323 | 196.5998 | 4662 | 981.2766 | 4228.5484 | 8434.1402 | 3247.2717 | 4205.5919
[5 empty] | 501 – 3,300 | 13.1318 | 40.1473 | 53.2791 | 46.3008 | 99.58 | 19825 | 132.4774 | 537.4944 | 1004.5897 | 405.017 | 467.0953
[5 empty] | 3,301 – 10,000 | 1.9604 | 5.7481 | 7.7084 | 6.1722 | 13.8806 | 20826 | 18.8261 | 74.0269 | 133.301 | 55.2008 | 59.2741
[5 empty] | 10,001 – 100,000 | 3.2359 | 8.6667 | 11.9026 | 7.7106 | 19.6132 | 75218 | 8.6041 | 31.6482 | 52.1503 | 23.0441 | 20.5021
[5 empty] | 100,001 – 250,000 | 0.34241 | 1.4147 | 1.7571 | 2.3169 | 4.074 | 233020 | 0.29389 | 1.5082 | 3.4967 | 1.2143 | 1.9886
COMBINED O&M only
[7 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
[5 empty] | Low | 2020 dollars (5 years) | 41544051.3837 | 22873558.6043 | 13131820.4615 | 1960361.6518 | 3235898.0285 | 342412.6376
[6 empty] | Real dollars (5 years) | 46279839.7167 | 25481015.7098 | 14628774.1783 | 2183831.8607 | 3604772.2143 | 381445.7535
[7 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
[5 empty] | Medium | 2020 dollars (5 years) | 173214724.2191 | 98567462.3429 | 53279132.9608 | 7708424.9235 | 11902558.1369 | 1757145.855
[6 empty] | Real dollars (5 years) | 192960229.1167 | 109803598.989 | 59352654.6291 | 8587142.0346 | 13259382.8586 | 1957450.6053
[7 empty] | Total | <=500 served | 501-3,300 | 3,301-10,000 | 10,001-100,000 | 100,001-250,000
[6 empty] | 2020 dollars (5 years) | 333747645.6498 | 196599809.0625 | 99579958.802 | 13880637.2191 | 19613206.6943 | 4074033.8719
[5 empty] | High | Real dollars (5 years) | 388108739.4816 | 230551482.4202 | 114910962.7111 | 15860896.6729 | 21849002.009 | 4936395.6684